SOP 502: CLINICAL RESEARCH INVOLVING INVESTIGATIONAL DRUGS AND DEVICES

# BACKGROUND

The Queen’s Medical Center RIRC requires investigators to provide a plan to ensure the proper handling of investigational or unlicensed test articles.

The Queen’s Medical Center RIRC ensures compliance with federal, state or local regulations governing investigational or unlicensed test articles.

# PROCEDURES

- Procedures for Review of Clinical Research Involving Investigational Drugs and Biologics

All initial requests for RIRC approval of a study that includes the use of an investigational drug, agent, or biologic will be reviewed and approved by the RIRC.

An investigator responsible for a drug study where drugs are stored and dispensed by the research Investigational Pharmacy must abide by FDA regulations. The investigator must also abide by the Queen’s Medical Center Hospitals and Policies.

  - Investigators must submit all information and documents required by the RIRC for the use of investigational test articles in the New Study Application (including, as applicable, Informed Consent, etc.).

  - If the research involves the use of a drug other than a marketed drug in the course of medical practice, the drug must either have an IND or the research must meet one of the FDA exemptions from the requirement to have an IND. The investigator will provide the IND or confirm the study’s eligibility for exemption from the IND requirements. The RIRC reviewer(s) may complete the Reviewer Checklist documenting that the IND has been provided or that the IND exemption criteria are met.

  - The RIRC will review the proposed research, informed consent documents, the procedure for obtaining informed consent, and additional information, when applicable, to determine whether the study meets criteria for approval. The RIRC reviewer(s) may complete the Reviewer Checklist documenting how the criteria are met.

    - The assigned RIRC reviewer(s) of the research protocol involving the investigational drug will evaluate whether the plan to control for the investigational drug is adequate, and may seek clarification from a representative of the Pharmacy or other qualified representatives who are not RIRC members that are knowledgeable about the control of investigational drugs.

    - The assigned RIRC reviewer(s) may contact a qualified person who is not an RIRC member that is knowledgeable about the drug with any concerns that may affect the risk/benefit assessment. They may also request a literature review.

# Procedures for Review of Clinical Research Involving Investigational Devices

All initial requests for RIRC approval of a study that includes the use of an investigational device will be reviewed and approved by the RIRC. Research on medical devices for which (i) an investigational device exemption application (21 CFR Part 812) is not required; or (ii) the medical device is cleared/approved for marketing and the medical device is being used in accordance with its cleared/approved labeling may be reviewed using expedited review procedure.

  - Investigators must submit all information and documents required by the RIRC for the use of investigational test articles in the New Study Application (including, as applicable, Informed Consent, etc.).

  - The RIRC will review the proposed research, informed consent documents, the procedure for obtaining informed consent, and additional information, when applicable, to determine whether the study meets criteria for approval. The RIRC reviewer(s) may complete the Reviewer Checklist documenting how the criteria are met.

    - The assigned RIRC reviewer(s) of the research protocol involving the investigational device will evaluate whether the plan to control for the investigational device is adequate, and may seek clarification from other qualified representatives who are not RIRC members that are knowledgeable about the control of investigational devices.

    - The assigned RIRC reviewer(s) may contact a qualified person who is not an RIRC member that is knowledgeable about the device with any concerns that may affect the risk/benefit assessment. They may also request a literature review.

  - The RIRC will determine whether, in the context of the study or by the nature of the investigational medical device (see significant risk devices list and IDE requirements exemption criteria), the study presents a significant risk (SR) of harm to study subjects, a non-significant risk (NSR) of harm to study subjects, or if the study meets criteria for exemption from IDE requirements. This assessment will be based on the information provided by the Investigator and/or the Sponsor. In deciding whether or not a medical device is a significant risk, the RIRC considers if the device:

- Is intended as an implant and presents a potential for serious risk to health, safety, or welfare of a participant.

- Is purported or represented to be for a use in supporting or sustaining human life and presents a potential for serious risk to the health, safety, or welfare of a participant.

- Is for a use of substantial importance in diagnosing, curing, mitigating, or treating disease or otherwise preventing impairment of human health and presents the potential for serious risk to the health, safety, or welfare of a participant.

- Otherwise presents a potential for serious risk, safety, or welfare of a participant.

  - The assigned RIRC reviewer or designated expedited reviewer reviews the committee reviewer checklist (Risk Determination for Devices portion) for risk determination.  In a convened meeting, the reviewer will communicate his/her determination, and this determination is documented in the minutes. If the convened RIRC disagrees with the determination made in the checklist, the minutes will reflect the discussion, resolution and final risk determination.  For expedited review, the reviewer will document his/her determination in the reviewer checklist.

  - If the RIRC agrees with the NSR determination, the study may begin after RIRC notification and FDA does not need to be notified.

  - If the RIRC determines that an investigation, presented for approval as a non-significant risk device involves a significant risk device, the RRO administrator or designee notifies the investigator and, where appropriate, the sponsor. The RIRC will not approve the study until the FDA issues a device determination of significant risk or non-significant risk and all associated requirements are met. The Sponsor may obtain this FDA determination and may provide it to the Investigator.

# Procedures for RIRC Oversight of a Humanitarian Use Device

An approved Humanitarian Device Exemption (HDE) authorizes marketing of a Humanitarian Use Device (HUD). HUD is a device that is intended to benefit patients in the treatment and diagnosis of diseases or conditions that affect or is manifested in fewer than 8,000 individuals in the United States per year.

Before a HUD under an approved HDE can be used at the Queen’s Medical Center or its affiliates for clinical care, approval by an RIRC is required, with the exception of emergency use.

  - The convened RIRC must review the initial application. A continuing review of an HUD may be done by way of an expedited procedure (similar to the expedited procedure described in section 56.110(b)) unless the RIRC determines that a convened committee must review the application.

  - The RIRC does not require a review and approval process for each individual use of an HUD. The RIRC may approve the use of the HUD without any further restrictions, use of the device under a protocol, or use of the device on a case-by-case basis.

  - The RIRC requires that full informed consent and documentation of consent be obtained when treating or diagnosing a patient with a HUD. The convened committee will consider exceptions to the requirement of full informed consent and documentation of consent on a case-by-case basis.